Computerized Data Acquisition and Instrument Control:

Temperature Control Experiment

Introduction to Experimental Methods-Fall 2001

Dr. Brian Tonner

# OBJECTIVES

In this module, you will become proficient at constructing a computer based data acquisition system, including both hardware and software components.

The system is built around a “visible PC”, which is a high-speed microcomputer with all of the usual accessories, but assembled without a case so that you can work directly with the components. Different types of input-output systems interfaces are used, including a serial port, parallel port, and GPIB port (general-purpose interface bus). Several different pieces of electronic equipment are used to generate or process signals.

At the conclusion of this module, a student will be expected to be able to accomplish the following tasks:

- Identify all of the major components of a PC, including storage media, motherboard components and I/O buses.

- Disassemble and reassemble a PC, and install a hard drive

- Record data from an external source using serial, parallel and GPIB ports

- Actuate external equipment using digital and analog output interfaces

- Write programs to perform an experiment requiring sequential signal output and inputs

- Operate standard electronic laboratory equipment, such as an oscilloscope, DVM, signal generator, and power supply.

# APPARATUS

- “Visible PC”, including motherboard, two hard drives, floppy disk drive, CD-ROM, mouse, keyboard and CRT.

- Hand-held DVM with serial interface (METEX).

- Triple out power supply.

- Tektronix dual trace oscilloscope with function generator, DVM, power supply modules.

- Keithley high performance GPIB/RS232 multi-function meter

- Hot-plate, solid-state switch, thermocouple

- Miscellaneous electronics supplies

# PROTOCOL

## Step 1: PC components and assembly

You will identify all the major components of the PC system, and learn how to check the CMOS setup. The PC will be disassembled into its main components (to the level possible using only simple hand tools). You then reassemble the computer and verify its operation.

## Step 2: Simple serial and parallel interfaces

- Connect the hand-held METEX DVM to one of the serial ports, and familiarize yourself with both of the programs supplied with the DVM to display input data. Try various settings of the DVM, such as the thermocouple, voltage, frequency and resistance settings, to familiarize yourself with its operation and its limitations.

- Connect the parallel-port diagnostic LED attachment to the printer port. Make sure that the system printer is set to “Generic/Text only”. Use a simple Visual Basic program to write characters to the printer port one at a time, and verify that you can turn a specific printer port bit (LED) on and off.

- Write a Visual Basic routine to read the serial port that you have used to attach the DVM. Make sure you can read the temperature from the DVM correctly.

## Step 3: Temperature controller

- Construct a temperature control system using the solid-state switch, hot-plate, and thermocouple. Verify, manually, that you can turn the hot plate on and off by computer control, and record the change in temperature.

- Measure the rate of change of the temperature of the hot plate as a function of time. The “time” function is built into Visual Basic.

- Using the information on the rate of temperature change of the hot plate, write a program that can stabilize the hot plate at a temperature of 50 C. Do the same for 75 C.

- Determine the minimum temperature fluctuation that you can achieve over a 10 minute period. Record temperature vs. time to prove your results.

# Results

Report graphically the results of the temperature-vs-time experiment for the hot plate. Model the temperature change with a simple differential equation. Plot your model on the same graph as the data for both heating and cooling. Also report the equation that you use and any parameters that are needed.

Report the temperature-vs-time results for the closed-loop feedback case under computer control. Include a “psuedocode” documented listing of your program (this means a brief verbal description of the logic steps, similar to a flow chart, but without the symbols). Also include copies of the actual code for future reference.