Experimental Methods of Physics

Fall 2002

# Project 2: Thermionic Emission

Read the two handouts on thermionic emission, from ASU and UWash.

Our apparatus consists of a .007” diameter W wire inside of a stainless steel cylinder. The dimensions will come from the instructor.

Goal:

Measure the emission of current from a heated filament. Use the experimental results to verify the Richardson-Dushman equation. Determine the work function of the filament. Observe and quantify the effects of space-charge limits. Compare the temperature of the wire as a function of input power to the black-body Stephan-Boltzman law.

Procedures:

1. Based on the available theory for thermionic emission, make a written plan for executing your experiment. This plan is to be submitted for a grade. The plan must contain, at a minimum, a diagram of all necessary components, a description of the experimental approach (called the protocol), and a psuedo-code listing of the required data acquisition program. A consideration of what data analysis is required is useful at this point, to guide you in the approach to data analysis.

2. Set up the experimental apparatus to investigate the temperature dependence of the filament as a function of input voltage and current. Record your observations carefully, as you will need this information to construct your acquisition program. DO NOT EXCEED 3 AMPERES FILAMENT CURRENT WITHOUT PERMISSION OF INSTRUCTOR.

3. Measure the emission current for one or two settings of filament temperature, to get some concept of the magnitude of the current that needs to be measured.

4. Measure the resistance of the wire as a function of input voltage (or current, your choice), up to the maximum allowed current. Analyze this to produce a chart of temperature as a function of input parameter.

5. Write a data acquisition program to measure the thermionic emission properties. The experiment design has some flexibility (meaning you have to make some decisions about the approach). Measure the data.

Deliverables:

Your report should include the material from the experimental plan (goals, theory, protocol, diagram, program listings) as well as recorded data. Your report should include, at a minimum, a graph of the resistance behavior of the filament, the temperature as a function of input power, and the emission current as a function of your chosen input parameter(s). Data analysis should include a comparison of your data to the Richardson-Dushman equation, and the Stephan-Boltzman law. Report your determined value of the tungsten work-function.